## Sheet1
Item # | Component Type / Value | Additional Parameter | Qty | Manufacturer | Comment
1 | Arduino Nano | Supply, 5V | 3 | ?China | Mikrokontroler
Operating, 5V
Digital IO, 14
Analog Input, 8
Communication, I2C UART SPI
2 | SIM900A | Supply, 5V | 2 | ?China | Modul GSM
Operating, 3V3
Communication, UART
3 | Digital Tensimeter | Supply, 3V3 | 1 |  | Tensimeter digital
Operating, 3V3
Communication, I2C
4 | MAX30102 | Supply, 3V3 | 1 |  | Sensor SPO2
Operating, 3V3
Communication, I2C
5 | SSD1306 | Supply, 3V3 | 1 | Adafruit | LCD
Communication, I2C
6 | Buck Converter | Max Supply, 30V | 1 |  | Modul regulator tegangan suplai
Output, 3V3
7 | Buzzer | Supply, 5V | 1 |  | Komponen alarm
8 | Push Button | Momentary | 4 |  | Tombol
9 | Switch |  | 3 |  | Switch on-off, sms